PORTFOLIO ONE

Operating Manual

AI-Powered Smart Building Intelligence Platform

Basic Tier  ·  Premium Tier

Energy  ·  Utilities  ·  BMS  ·  Alerts  ·  Carbon  ·  Reports

Across six regions — UK · EU · USA · Australia · Hong Kong · Caribbean

Version 1.0  ·  June 2026

visionzeroconnect.com

Contents

1. Introduction ................................................ 3

2. Getting Started ............................................. 5

3. Dashboard ................................................... 11

4. Buildings Manager & Per-Building Tabs ....................... 14

5. Status Manager (Alerts) ..................................... 28

6. Data Collection ............................................. 32

7. Carbon & Emissions .......................................... 36

8. Reports ..................................................... 38

9. Analytics (Premium) ......................................... 42

10. Maps (Premium) .............................................. 44

11. Solar Monitor (Premium) ..................................... 46

12. Investment Planner .......................................... 48

13. Ask Your Building (AI Chat) ................................. 50

14. Settings .................................................... 52

15. Admin Portal (Internal Ops) ................................. 56

16. Operational Conventions & Troubleshooting (Internal Ops) .... 60

# 1. Introduction

Portfolio One is an AI-powered Smart Building Intelligence platform that monitors building operations across an entire portfolio — energy, utilities, BMS telemetry, alerts and carbon emissions. It works across any building type (office, hospital, hotel, restaurant, school, logistics warehouse, government, port, manufacturing) and any market.

This manual covers every screen, field and workflow available in the platform. It applies equally to the Basic tier and the Premium tier, with Premium-only features clearly marked throughout. Internal operations guidance (admin portal, deployment, troubleshooting) appears in the final chapters.

## 1.1 What Portfolio One is — and what it is not

Portfolio One is a building operations platform. It is not an ESG disclosure reporting platform. Where you need to publish CSRD / ESRS / SECR disclosures, that is the job of VZC Essentials — a sibling product with its own onboarding and reporting flow.

| Capability | Portfolio One | VZC Essentials |
| --- | --- | --- |
| Live BMS telemetry, alerts, utility tracking | Yes | No |
| Tier 1 / Tier 2 alerts with auto-email | Yes | No |
| Per-building Carbon Intelligence, Net Zero Pathway | Yes | No |
| ESRS / CSRD / SECR statutory disclosure | No | Yes |
| Supply chain (Scope 3 Cat 1 / 2 / etc.) | No | Yes |

## 1.2 Two licence tiers

| Tier | Sidebar modules | Notes |
| --- | --- | --- |
| Basic | Dashboard · Buildings · Status Manager · Data Collection · Reports | Includes Carbon module (used by shared components even though the standalone Carbon page is folded into Analytics) |
| Premium | Basic + Analytics + Maps + Solar Monitor | Plus the premium per-building tabs (Carbon Intelligence, Net Zero, Solar Energy, Investment) |

Note: Investment Planner sidebar, Ask Your Building, and the five AI sub-modules (anomaly, predict, optimise, benchmark, regulatory) are "legacy opt-in" — they are not part of either tier and require explicit activation by a VZC super admin per workspace.

## 1.3 Supported regions

Every workspace is anchored to one of six regions. The region drives all units, currency, emission factors and benchmark sources.

| Code | Region | EUI Unit | Currency | Factor Source | Primary Benchmark |
| --- | --- | --- | --- | --- | --- |
| UK | United Kingdom | kWh/m² | GBP (£) | DEFRA 2024 | CIBSE |
| AU | Australia | kWh/m² | AUD (A$) | NGA 2024 | NABERS |
| US | United States | kBtu/ft² | USD ($) | EPA eGRID 2024 | ENERGY STAR |
| HK | Hong Kong | kWh/m² | HKD (HK$) | HKEPD 2024 | EDB / EMSD |
| JM | Caribbean / Jamaica | kWh / kW | USD ($) | Regional 2024 | IEC |
| EU | European Union | kWh/m² | EUR (€) | AIB 2024 | ESRS |

## 1.4 User roles

| Role | Who | Permissions |
| --- | --- | --- |
| Owner | Person who registered the workspace | Full access to all activated modules, settings, team, integrations, reports |
| Admin | Senior staff promoted by the Owner | Same as Owner except cannot transfer ownership |
| Contributor | Staff who enter data and respond to alerts | Data entry across modules, alert acknowledge / resolve, cannot manage team or integrations |
| Viewer | Read-only stakeholder | View dashboards and reports only |
| Super Admin (VZC) | VZC platform staff | Separate admin portal — licence activation, module activation, tier changes. Never logs into the customer-facing app. |

## 1.5 Platform access

| URL | Purpose |
| --- | --- |
| https://[your-domain] | Main application — all users |
| https://[your-domain]/admin | VZC admin portal — Super Admins only (separate login) |
| https://[your-domain]/reports/shared/[token] | Public shared report — no login required |

# 2. Getting Started

## 2.1 Creating an account

Go to /register to create a new workspace. The following fields are required:

| Field | Type | Requirement | Example |
| --- | --- | --- | --- |
| Full Name | Text | Required, min. 2 characters | Jane Smith |
| Organisation Name | Text | Required, min. 2 characters | Acme Property Holdings Ltd |
| Work Email | Email | Required, must be valid email | jane.smith@acme.com |
| Password | Password | Required, min. 8 characters | (hidden) |
| Confirm Password | Password | Must match Password field | (hidden) |
| Terms & Privacy | Checkbox | Must be checked | ✓ Checked |

Note: After registration, the workspace status is "pending". A VZC Super Admin must activate the workspace before you can access the platform. This typically takes < 24 hours.

## 2.2 Onboarding wizard (6 steps)

Once your licence is activated, the first login launches a 6-step wizard that configures the workspace, registers your first buildings, and links any data partner integrations.

### Step 1 — Organisation details

Confirm or update the organisation name, primary contact email/phone, and registered address. This information appears on generated reports and in alert emails.

### Step 2 — Market / region

Select your primary region. The 6 region cards display in a grid; each shows a preview panel containing the currency, EUI unit and emission factor source for that region.

- UK — kWh/m², GBP, DEFRA 2024, CIBSE benchmarks

- AU — kWh/m², AUD, NGA 2024, NABERS benchmarks

- US — kBtu/ft², USD, EPA eGRID 2024, ENERGY STAR benchmarks

- HK — kWh/m², HKD, HKEPD 2024, EDB / EMSD benchmarks

- JM — kWh / kW, USD, regional 2024, IEC benchmarks

- EU — kWh/m², EUR, AIB 2024, ESRS benchmarks

Note: The region can be changed later via Settings → Region & Units, but doing so re-calculates all historical metrics in the new units. Avoid switching regions after significant data is captured.

### Step 3 — Buildings (up to 5)

Add the first 5 buildings in your portfolio. For each:

| Field | Type | Notes |
| --- | --- | --- |
| Name | Text | Required. Used everywhere in the platform. |
| Type | Dropdown | office / hospital / hotel / restaurant / school / logistics / warehouse / port / government / manufacturing / other |
| Address | Text | Used for the Maps module and reports |
| Floor area | Number + unit (m² or ft²) | Required for EUI calculation |
| Year built | Number | Optional |
| Certifications | Chip selector | BREEAM, LEED, EPC, ENERGY STAR, NABERS, etc. |
| Contacts | Repeatable rows | Name, role, email, phone |

More than 5 buildings? Add the remaining ones via Buildings → "Add building" after onboarding.

### Step 4 — Data connections

Choose how energy and utility data will flow:

| Mode | How it works | Suitable for |
| --- | --- | --- |
| Manual | Read meters or upload bills monthly via Data Collection | Smaller portfolios, no BMS infrastructure |
| Smart (Integration) | Connect a data partner — Synapsis, Novant, Softhard, Grid, Solar PV or BMS Generic | Buildings with a BMS or smart meter network |
| Mixed | Some buildings manual, others integration | Most real portfolios |

For the Integration route, six partner cards appear. Each opens a credential form with a "Test connection" button:

| Partner | Code | Provides |
| --- | --- | --- |
| Synapsis | synapsis | UK BMS — HVAC, lighting, occupancy, floor-level sensors |
| Novant | novant | Smart valve control — water management, open/close commands |
| Softhard | softhard | HK IoT — energy, water, gas sensor feeds |
| Grid API | grid | Real-time electricity price signals (UK Octopus Agile, US EIA, fallback tariffs) |
| Solar / PV | solar_pv | PV generation data, inverter feeds |
| BMS Generic | bms_generic | BACnet/Modbus via REST bridge |

Tip: You can skip integrations in onboarding and add them later. Many customers start manual and graduate to integrations once their first building is live.

### Step 5 — Module review

A read-only 16-module grid shows which modules are active for your workspace. Core modules (Dashboard, Buildings, Alerts, Data Collection, Reports, Carbon) are always active. Premium and AI modules are activated separately by VZC.

### Step 6 — Launch

A sequential checklist animation runs through each setup step ("Organisation saved", "Region applied", "Buildings added", "Integrations tested", etc.) and then redirects you to the Dashboard.

## 2.3 Logging in

Go to /login and enter your email and password. If MFA is enabled, you will be redirected to /mfa to enter a 6-digit TOTP code from your authenticator app.

## 2.4 Forgot password

Click "Forgot password?" on the login page. Enter your email and click "Send reset link". The reset email contains a link valid for 1 hour. Click the link, enter your new password (min. 8 characters) and confirm.

## 2.5 Enabling MFA

Settings → Workspace → Security → "Enable MFA". A QR code is generated; scan it with Google Authenticator, Authy, 1Password, or any TOTP app. Enter the 6-digit code to confirm setup. MFA is per-user, not per-workspace.

## 2.6 Inviting team members

Owners and Admins can invite additional users via Settings → Team → "Invite member". Choose a role (Admin / Contributor / Viewer) and enter the colleague's email. They receive an invitation email with a one-time link.

Note: Invited users land directly on the dashboard with the role you selected. They should immediately change their password if a temporary one was provided.

# 3. Dashboard

The Dashboard is the landing page after login. It provides a real-time portfolio overview: live KPIs, building rankings, the Net Zero trajectory, active alerts and AI-generated insights. All data updates automatically via React Query background refresh.

## 3.1 KPI strip (top of page)

| Card | What it shows | Data source |
| --- | --- | --- |
| Total assets | Number of buildings in the portfolio | assets table count |
| Total floor area | Sum of floor_area across active assets in region's unit | assets.floor_area |
| Scope 1 + 2 tCO₂e | Trailing 12-month emissions | emissions service (carbon module) |
| Portfolio EUI vs benchmark | Total energy per unit area vs regional benchmark | metrics electricity_kwh + gas_kwh ÷ area, vs benchmark_panel |

## 3.2 Tier 1 alert banner

If any Tier 1 alert is currently active anywhere in the portfolio, a red pulsing banner appears above the KPI strip with the alert title, building name, and a "Go to Status Manager" button. The banner pulses continuously (2-second loop) until the alert is acknowledged.

Warning: A Tier 1 banner means a life-safety event has been detected (fire / gas / security / critical equipment). Acknowledge within 60 seconds where possible; the system has already auto-emailed every notification recipient via Resend.

## 3.3 Net Zero trajectory

An AreaChart showing monthly Scope 1+2 emissions against the linear glide path to your workspace's net-zero target year (default 2050). Two series:

- Actual — solid teal line, monthly aggregate

- Target — dashed grey line, linear from current month to net_zero_target_year

Hovering any month shows the absolute tCO₂e and the % delta from target.

## 3.4 Building rankings

A sortable table listing every building with its current EUI, % vs benchmark, and an inline EUI bar coloured teal (good — at or below benchmark), amber (warning — within 20%), or red (poor — above 20%).

Columns: Building name · Type · Floor area · 12-month energy · EUI · vs Benchmark · Active alerts. Click a row to open the building.

## 3.5 Top / bottom performers

Two card carousels above the rankings table:

- Top performers — 3 best EUI vs benchmark, sorted ascending

- Bottom performers — 3 worst EUI vs benchmark, sorted descending

Each card shows building name, EUI, benchmark, and a chip with the deviation %.

## 3.6 Active alerts strip

Horizontally scrollable strip showing the 5 most recent active alerts. Each card: tier badge (red T1, amber T2), building name, alert category icon, age ("3 min ago"), and "View" link to open the alert in Status Manager.

## 3.7 AI Insights panel

A slide-out drawer (collapsible from the right side) showing AI-generated insights for the portfolio:

- Top optimisation opportunities (requires `ai_optimise` module)

- Anomalies detected in the last 7 days (requires `ai_anomaly`)

- Regulatory updates in your region (requires `ai_regulatory`)

- Source badges show which insight came from which AI service

Note: Insights are cached for 1 hour. The drawer shows "Insights updated 24 minutes ago" so you know how fresh the data is. Click "Refresh now" to force a re-scan.

## 3.8 Weekly digest widget

A collapsible card at the bottom of the dashboard summarising the last 7 days:

- Total energy consumed (vs previous week)

- Tier 1 + Tier 2 alerts fired

- Estimated cost (region currency, calculated from regionAdapter tariffs)

- AI-generated narrative paragraph from GPT-4o-mini

The digest also lands in inboxes every Monday at 09:00 (recipients configured in Settings → Notifications).

# 4. Buildings — Manager & Per-Building Tabs

The Buildings section is the deepest module in Portfolio One. The Manager view at /buildings shows a 3-column grid of all buildings. Clicking any card opens the per-building layout — a sticky sub-nav with 8 tabs organised under 5 phase pills (Overview · Measure · Understand · Model · Plan · Docs).

## 4.1 Buildings Manager (`/buildings`)

### Search and filters

- Search by name — instant text filter

- Filter by type — multi-select (office, hospital, etc.)

- Filter by EUI range — slider with min/max thresholds vs benchmark

### Building card layout

Each card shows:

- Building name + type + city

- Floor area (in regional unit)

- EUI bar — coloured teal / amber / red against benchmark

- Certification chips (BREEAM, LEED, EPC rating, etc.)

- Last 12-month energy total + Scope 1+2 tCO₂e

- Active alert count (red badge if > 0)

Cards animate in with a stagger (60ms per card). Clicking opens /buildings/:id → defaults to the Overview tab.

### Adding a building

"Add building" button (top right) opens a modal with the same field set as onboarding Step 3. After save, the building appears in the grid and is immediately available for data entry.

## 4.2 Per-building layout (`/buildings/:id`)

A sticky sub-nav contains 8 tabs grouped under 5 visual phase pills. The first ←/→ arrows scroll the tabs horizontally on small screens.

| Phase pill | Tab(s) | Route |
| --- | --- | --- |
| (standalone) | Overview | /buildings/:id/overview |
| Measure | BMS | /buildings/:id/bms |
| Measure | Utilities | /buildings/:id/utilities |
| Understand | Carbon Intelligence | /buildings/:id/carbon-intelligence |
| Model | Net Zero | /buildings/:id/net-zero |
| Model | Solar & Energy | /buildings/:id/solar-energy |
| Plan | Investment | /buildings/:id/investment |
| (standalone) | Documents | /buildings/:id/documents |

Note: The base route /buildings/:id automatically redirects to /buildings/:id/overview.

## 4.3 Overview tab

Header panel with building name, type, address. Below: 6 StatCards in a glassmorphism strip:

- Floor area · Last 12-month energy · Scope 1+2 tCO₂e · Last alert · Certifications count · Net-zero target year

Then:

- PieChart donut showing Scope 1 / Scope 2 / Scope 3 split (Scope 3 zero unless tracked)

- AreaChart of monthly emissions vs the building's net-zero glide path

- Certification cards with expiry badges (amber if expiring within 6 months, red if expired)

- Contacts table — name, role, email, phone

## 4.4 BMS Manager tab

Three view buttons across the top: HVAC · Lighting · Occupancy. Each view connects to the WebSocket server — a Live badge (top right) pulses green when telemetry is arriving, grey when disconnected, amber when reconnecting.

### HVAC view

- Floor / zone tab selector (one tab per Space in the building)

- StatCards for each space: zone temperature, setpoint deviation, current mode (Cool / Heat / Auto / Off)

- Threshold colours: green within ±1°C of setpoint, amber within ±3°C, red outside ±3°C

- LineChart of zone temperature for the selected date range (1d / 7d / 30d)

- FlashStatValue animation — each cell scales briefly (1 → 1.04 → 1) when a new WS reading lands

### Lighting view

- BarChart of lux readings per zone

- Energy consumed by lighting circuits (if measured)

- Occupancy-based recommendations (if `ai_optimise` active): "Reduce zone X lux setpoint to save ~£Y / month"

### Occupancy view

- AreaChart of building occupancy %

- CSS heatmap grid — rows = hours of day, columns = zones, fill colour = occupancy %

- CO₂ ppm correlated overlay (BMS simulation broadcasts CO₂ as 450 + occupancy × 6)

## 4.5 Utility Manager tab

Four utility sub-tabs: Electricity · Gas · Water · Waste. Each tab shows the same shape of controls:

- Date range buttons: 3m / 6m / 12m

- Chart / table toggle

- Usage / Cost toggle (cost uses tariff from regionAdapter)

- CSV export button

- Summary strip with current period total + YoY % comparison

### Electricity tab

- BarChart of monthly consumption with cost overlay if Cost toggle on

- Benchmark comparison bar — your building EUI vs regional benchmark

- Solar generation overlay if `solar_kwh` metric exists for this asset

### Gas tab

- BarChart monthly consumption

- Conversion note — values displayed in kWh internally; switch toggle to therms / m³ / MJ

### Water tab

- BarChart monthly consumption

- Novant Valve Panel appears at top if a Novant integration is connected to this asset

### Waste tab

- Stacked BarChart per month: Recyclable + Organic + Landfill streams

- ProgressRing showing recycling rate %

- Waste-to-landfill diversion target line

## 4.6 Novant Valve Panel

Appears on the Water utility tab and in the Status Manager when a Novant valve integration is connected.

| Status chip | Colour | Meaning |
| --- | --- | --- |
| Open | Green | Valve open, water flowing normally |
| Closed | Red | Valve closed (manual or auto shutdown) |
| Fault | Amber | Sensor error or partial closure |
| Unknown | Grey | No status response (check connectivity) |

Each zone row has Open / Close buttons. A red "Emergency Shutdown" button at the top closes every valve in the building in one operation.

Warning: Every valve command (Open / Close / Emergency Shutdown) is appended to the audit trail of any active water alert on this asset. If no alert is active, the command creates a new Tier 2 water alert so the action is recorded. A ConfirmDialog requires explicit confirmation before sending the command — there is no accidental shutdown.

## 4.7 Carbon Intelligence tab

The merged Carbon + Insights deep-dive — the most data-rich page in the platform.

- 3-column hero — Performance Score gauge (0-100), Sector benchmark bars, Action buttons

- 5 KPI StatCards — Scope 1 tCO₂e, Scope 2 tCO₂e, Total, Carbon Intensity (kgCO₂e / m²), Annual Cost

- Stacked monthly BarChart + Scope donut PieChart side-by-side

- Carbon intensity AreaChart over 24 months

- AI Optimisation Opportunities grid (cards with: title, description, estimated annual saving, payback months) — populated by `optimise.service.js` if `ai_optimise` module active

- YoY comparison bars — current 12 months vs previous 12 months for each Scope

- Regulatory context card — current frameworks affecting this building's region

- Three slide-in panels at the bottom: How We Compare · Cost Breakdown · Optimisation Panel

Note: The Carbon page at the portfolio level (/carbon) redirects to /analytics — Carbon at the per-building level lives only here.

## 4.8 Net Zero Pathway tab

A scenario builder for the building's journey to net zero.

### Scenario types

- Business as usual — projects current consumption to target year with no change

- Moderate — applies a typical 2-3% per-year reduction

- Accelerated — applies aggressive efficiency + electrification + renewables

### Adding interventions

Each scenario has a list of interventions, each with a year and expected % reduction:

- LED retrofit · HVAC upgrade · Insulation · BMS optimisation · Solar PV · Battery storage · Heat pump · Window glazing

The trajectory chart updates instantly as you add/remove interventions.

### AI narrative

A "Generate narrative" button (requires `ai_optimise` or `ai_predict`) writes a paragraph describing the scenario in plain English suitable for management reports. The narrative is cached and timestamped.

## 4.9 Solar & Energy tab — Phases A through E

A multi-phase deep deliverable for solar feasibility. All phases run sequentially — each later phase consumes the cache from the previous one. The full chain takes ~45 seconds end-to-end the first time, < 1 second on cached runs.

### Phase A — Roof analysis + irradiance

- Pulls roof segments from Google Solar API (`solar_roof_data` table cache, 90-day TTL)

- Pulls 12-month irradiance from PVGIS API (`solar_tmy_cache` table cache)

- Renders a satellite Leaflet map with roof segments overlaid, colour-coded by solar yield class

- Sun-path diagram for solstice / equinox / winter

- 12 × 24 irradiance heatmap (months × hours)

### Phase B — Physics simulator

- Pulls hourly TMY (Typical Meteorological Year) data — 8,760 points

- Full loss chain: NOCT cell temperature derating, soiling 2%, cable 1%, mismatch 1%, inverter 97.5%, Performance Ratio

- 25-year degradation: LID + linear annual degradation

- Demand matching: ASHRAE weekday/weekend occupancy shape, monthly DB data scaling

- Hour-by-hour self-consumed / export / import breakdown

- Charts: LossWaterfall, EnergyFlowSankey, monthly gen vs demand ComposedChart, 25-year AreaChart of degradation

### Phase C — Battery optimiser

- Hour-by-hour BESS (Battery Energy Storage System) charge / discharge — depth-of-discharge 90%, round-trip efficiency 92%, 0.5C max C-rate

- Tests sizes 5 → 100 kWh in 5 kWh increments, finds diminishing-returns knee

- Regional BESS cost from £650 (UK) to HK$5,500 per kWh

- Charts: BessTable scenario comparison (with "recommended" pill), EnhancedFlowDiagram SVG Sankey

### Phase D — Financial model

- Regional capex / tariff / incentive stack: UK VAT + SEG, AU STCs, US ITC 30%, HK FITS, EU subsidy, JM net billing

- 25-year cashflows, NPV at 6% discount, IRR (binary search), LCOE

- Payback — simple + discounted

- Monte Carlo 500 runs (Box-Muller) → P10 / P25 / P50 / P75 / P90 + histogram + 3 trajectory arrays

- Tornado chart ± 20% electricity / ± 10% solar / ± 15% capex / discount 4% vs 8% / growth 0% vs 5%

- Time-of-Use (ToU) 24-hour rate multiplier — off-peak 0.7×, evening peak 1.5×

- Charts: Financial KPI hero, incentive card, 25yr ComposedChart with P10/P90 fan, MC histogram, Tornado, ToU AreaChart

### Phase E — AI narrative + bankable report

- GPT-4o-mini narrative for each section

- Bankable feasibility PDF export with full disclosure (suitable for investor / lender)

## 4.10 Investment Planner (per-building) tab

A focused intervention planner per building.

### Adding interventions

"Add intervention" form — title, category (LED / HVAC / Solar / Insulation / BMS / Other), CapEx (in regional currency), expected annual saving.

### Intervention table

Each row shows: title · category · CapEx · annual saving · simple payback · 10-year NPV · priority badge.

### AI rank

"Rank with AI" button — GPT-4o-mini orders the interventions by cost-effectiveness and dependency (e.g. it knows BMS optimisation should come before HVAC upgrade). Sets the priority badge.

### Visuals

- Scatter chart — CapEx (x) vs CO₂ reduction (y) — bigger bubble = bigger annual saving

- Quick wins card (< 2 year payback)

- Risk cards for interventions with NPV < 0

- Implementation sequence list — ordered timeline based on AI rank

- 4 KPI cards — total CapEx · total annual saving · weighted payback · total CO₂ avoided

## 4.11 Documents tab

A repository for building-specific documents.

| Document type | Notes |
| --- | --- |
| EPC Certificate | UK Energy Performance Certificate — has expiry date |
| BREEAM Report | Detailed BREEAM rating documentation |
| Inspection Report | Fire safety, electrical, structural |
| Maintenance Log | HVAC / lifts / electrical scheduled work |
| Lease | Tenant lease document |
| Planning Document | Planning permission, change-of-use, etc. |
| Other | Anything else |

### Uploading

"Upload" button opens a modal with drag-drop file area, type dropdown, title field, optional expiry date. Max file size: 50 MB. Files store to AWS S3, encrypted at rest.

### Expiry badges

- Green — valid, expiry in > 6 months

- Amber — expiring within 6 months

- Red — expired (or no expiry tracked when one is expected)

### Download / delete

Each row has a download icon (generates a presigned S3 URL valid 5 minutes) and a delete icon (ConfirmDialog before action; soft-delete in DB, S3 object removed).

# 5. Status Manager (Alerts)

The Status Manager at /alerts is where every alert in the workspace lands. Two tabs: Active Alerts and Historical Alerts.

## 5.1 Alert tier system

| Tier | Stored as | Border style | Auto-email SLA | Categories |
| --- | --- | --- | --- | --- |
| Tier 1 | alerts.tier = 1 | Red, pulsing 2s loop | < 60 seconds | fire · security · gas · critical_equipment |
| Tier 2 | alerts.tier = 2 | Amber, static | < 5 minutes | hvac · energy · water · other |

Warning: Every alert sends emails automatically via Resend the moment it is created. There is no manual "Send Alert" button anywhere in the platform. Recipients are configured in Settings → Notifications.

## 5.2 Active Alerts tab

### Filters

- Tier — All / T1 only / T2 only

- Category — Fire, Security, Gas, Critical Equipment, HVAC, Energy, Water, Other

- Asset — multi-select building filter

### Summary strip

Top of the tab shows: Tier 1 count · Tier 2 count · Total · "Last triggered" with relative timestamp.

### Alert card layout

Each card shows:

- Tier badge (red T1 with pulsing border, or amber T2)

- Category icon (flame for fire, shield for security, etc.)

- Title — concise plain-English description

- Description — full context

- Location — building name → space name

- Deviation text — "Setpoint 22°C, actual 28°C — 6°C above setpoint"

- Notified users — avatar row of people emailed

- Triggered timestamp + age ("12 min ago")

- Acknowledge button (opens modal — adds note, updates `acknowledged_at` + `acknowledged_by`)

- Resolve button (opens modal — adds resolution notes, updates `resolved_at` + `resolved_by`)

### Real-time updates

The tab subscribes to the WebSocket. New alerts arriving anywhere in the workspace trigger:

- Tier 1 — red toast notification, sound (browser permitting), alert card slides in at top

- Tier 2 — amber toast notification, card slides in

React Query also refetches every 30 seconds as a safety net.

## 5.3 Historical Alerts tab

### Date range

- Pre-set: 7 days · 30 days · 90 days

- Custom — date range picker

### Filters and aggregates

Same tier/category/asset filters as Active. 4 aggregate stat cards summarise the period:

- Total alerts · Tier 1 count · Tier 2 count · Average time-to-acknowledge

### Expandable rows + audit timeline

Each row expands to reveal the full audit timeline:

- Triggered

- Emails sent (list of recipients + timestamp)

- Acknowledged (who + when + note)

- Valve commands (if applicable — Novant water alerts log every Open/Close here)

- Resolved (who + when + resolution notes)

The audit trail is stored as JSONB on `alerts.audit_trail` — append-only, never overwritten.

### Export CSV

"Export CSV" button generates a CSV of all alerts matching the current filters. Columns include all fields above. Used for compliance reporting and external auditors.

## 5.4 Automated threshold monitoring

The sync scheduler (running every 30 minutes) calls `runAlertCheck(workspaceId, assetId)` for every asset with active data. Built-in thresholds:

| Metric | Threshold | Tier |
| --- | --- | --- |
| Electricity | > 120% of baseline | Tier 2 — energy |
| Gas | > 120% of baseline | Tier 2 — energy |
| Water | > 120% of baseline | Tier 2 — water |
| Zone temperature | ± 3°C from setpoint | Tier 2 — hvac |
| CO₂ ppm | > 1500 ppm | Tier 2 — hvac |
| Fire alarm signal (via Synapsis/Novant) | any | Tier 1 — fire |
| Intruder alarm signal | any | Tier 1 — security |

Note: A duplicate guard prevents auto-firing if the same (asset, category) combination already has an open alert from the last 6 hours. This stops a single deviation from creating dozens of duplicate alerts.

# 6. Data Collection

The Data Collection page at /data-collection has four tabs covering every way to get data into Portfolio One: Manual entry, Historical CSV import, AI Bill upload, and Integration Hub.

## 6.1 Manual tab

For one-off readings or buildings without connected integrations.

### Fields

- Building — dropdown (filter by workspace assets)

- Space — optional dropdown (per-room readings)

- Metric type — electricity_kwh / gas_kwh / water_m3 / etc. (units auto-update from regionAdapter)

- Value — number

- Period start / Period end — billing-period dates (NULL for spot readings)

- Source — "manual" auto-set

- Notes — optional

### Recent entries table

Below the form, the last 50 manual entries for this workspace appear in a table. Each row: building, metric, value, recorded_at, source, "Delete" (soft delete; requires Owner/Admin role).

## 6.2 Historical CSV import

For bulk importing past data (e.g. when migrating from a spreadsheet).

### CSV format

First row = headers. Required columns: building_name, metric_type, value, unit, recorded_at. Optional: space_name, period_start, period_end, source, notes.

### Workflow

- 1. Click "Upload CSV"

- 2. Preview table shows first 10 rows + total count

- 3. Click "Import" — progress bar fills as rows insert

- 4. Result summary: "X rows imported, Y skipped" + downloadable error log

Tip: Use the CSV export from any Utility Manager tab as a template — same column shape works for re-import to a different workspace.

## 6.3 AI Bill upload

Upload a utility bill (PDF or image); GPT-4o + OCR extract the data.

### Workflow

- 1. Drag-drop or browse — select PDF / JPG / PNG

- 2. "Parsing..." spinner — OCR runs first (Google Cloud Vision if configured, otherwise OpenAI Vision)

- 3. GPT-4o reads the OCR text + the original image, produces a structured JSON with confidence score

- 4. Result card appears — every field editable, with the AI's extracted value pre-populated:

- — Supplier · Bill type (electricity / gas / water) · Period start / end · Total kWh / m³ · Total cost · Confidence badge

- 5. Anomaly flags appear if the AI detected unusual values

- 6. Click "Confirm & save" — the values write to the metrics table

Note: Confidence < 50% triggers a "Review carefully" amber banner. Confidence < 20% blocks the save button — you must edit at least one field before saving.

## 6.4 Integration Hub

The hub at /data-collection (Integration Hub tab) shows 6 partner cards. Each opens a Configure panel.

| Partner | Credentials needed | Frequency |
| --- | --- | --- |
| Synapsis | API key, base URL | Every 30 min via sync scheduler |
| Novant | API key, base URL | Every 30 min + on-demand for valve control |
| Softhard | API key, base URL | Every 30 min |
| Grid API | API key (optional — falls back to public APIs) | Hourly cache, refresh on-demand |
| Solar / PV | API key, inverter endpoint URL | Every 30 min |
| BMS Generic | BACnet/Modbus REST bridge URL + auth | Every 30 min |

### Workflow

- 1. Click partner card → "Configure"

- 2. Enter credentials

- 3. Click "Test connection" — synchronous test call to partner API

- 4. Success → credentials encrypted (AES-256-GCM) and saved to data_partner_connections

- 5. Failure → error message shown; credentials NOT saved

### Status indicators

| Status | Colour | Meaning |
| --- | --- | --- |
| Connected | Green | Active, last sync successful |
| Testing | Blue pulse | Connection test in progress |
| Error | Red | Last sync failed — check "last_error" detail |
| Disconnected | Grey | Credentials not saved or manually disconnected |

Warning: Disconnecting a partner does not delete historical data — only stops future syncs. Existing metrics records remain. To remove data, use the Buildings → Data tab → Bulk delete (Admin role required).

# 7. Carbon & Emissions

Carbon and emissions data is surfaced in three places:

- Per-building → Carbon Intelligence tab (the deepest view — covered in §4.7)

- Portfolio-level → Analytics tab → Carbon sub-tab (covered in §9)

- Cross-cutting AI services — benchmark scanner and regulatory watch (covered below)

Note: The standalone Carbon page (/carbon) redirects to /analytics. The `carbon` module code is still active to keep shared components working.

## 7.1 Scope 1 + 2 calculation

Portfolio One calculates emissions on the fly from the metrics table:

| Scope | What it covers | Formula |
| --- | --- | --- |
| Scope 1 | Direct emissions — gas, diesel, LPG combustion | metric value × emission factor (kgCO₂e per unit, from regionAdapter) |
| Scope 2 | Purchased electricity | electricity_kwh × grid emission factor (region-specific eGRID / DEFRA / NGA / etc.) |

Emission factors live in the `emission_factors` DB table (region-specific) with regionAdapter fallback defaults. The factors are tagged by year — `getRegionConfig` returns the most recent active row.

Solar generation (`solar_kwh` metric) is netted off electricity before applying the Scope 2 factor — i.e. self-consumed solar is treated as zero-emission, only grid-imported electricity is counted.

## 7.2 Net Zero trajectory

Each workspace has a default `net_zero_target_year` (typically 2050 per region). The trajectory is a linear glide path from current year to target year, against which monthly actuals are compared.

On the per-building Net Zero tab, scenarios can override this trajectory with intervention-based projections (see §4.8).

## 7.3 AI Benchmark Scanner (`ai_benchmark` module)

A weekly job (configured in the sync scheduler) calls GPT-4o with `web_search_preview` for each region, retrieving the latest CIBSE / NABERS / ENERGY STAR / EDB benchmark values for each building type. Results cache to `benchmarks.json` with a `last_scanned_at` timestamp; auto-refresh if > 30 days stale.

The cache is used by the Building Overview, Building Rankings, and the Carbon Intelligence panel's "How We Compare" slide.

## 7.4 AI Regulatory Watch (`ai_regulatory` module)

A weekly job calls GPT-4o with `web_search_preview` for each active workspace's region, scanning for new ESG/energy regulations affecting that market. Returns urgency-tagged items.

### Where they appear

- Carbon Intelligence regulatory context card (per building)

- AI Insights drawer on the Dashboard

- Settings → Notifications → Regulatory updates email digest (weekly Monday)

### Urgency colours

- High — Red — Effective within 6 months, applies to your region + building type

- Medium — Amber — Effective within 12 months, or applies to your region generally

- Low — Grey — Informational, may affect you in 12+ months

Items can be dismissed (stored to localStorage) so they don't reappear after acknowledgement.

## 7.5 Carbon offsets marketplace

Six hard-coded offset projects (one per region) appear at the bottom of the Carbon Intelligence page:

- UK — Woodland creation (Woodland Carbon Code)

- US — Texas wind farm (Verra VCS)

- AU — Savanna burning project (ACCU)

- HK — Mangrove restoration (Gold Standard)

- EU — Solar microgrid (Gold Standard)

- JM — Mangrove restoration (Verra VCS)

### Purchase simulation

Click any project card → modal opens. Enter tonnes to purchase → modal shows impact equivalency (tonnes × 0.2 = cars off the road) and total cost. Confirm → record inserts into `carbon_offsets` table.

Note: Purchases are recorded for reporting; they do not actually transact (no payment integration). The model is suitable for showing offset intent in management reports.

# 8. Reports

The Reports module at /reports lets you generate, share, and archive every kind of stakeholder-facing document Portfolio One produces.

## 8.1 Report list (history)

The default view is a table of every report ever generated for this workspace.

| Column | Notes |
| --- | --- |
| Title | Editable inline |
| Scope | Portfolio / Asset |
| Format | PDF / XLSX / PPTX / DOCX badge |
| Status | Draft / Generating (with spinner) / Complete / Failed |
| Generated | Relative timestamp |
| Generated by | User name |
| Actions | Download · Share · Delete |

## 8.2 Report Builder

"Create report" button opens a slide-in drawer.

### Step 1 — Scope

- Portfolio — covers every asset in the workspace

- Asset — pick a single building (asset dropdown appears)

### Step 2 — Period

- Last calendar month

- Last 3 / 6 / 12 months

- Custom date range

### Step 3 — Template

| Template | Output format | Sections |
| --- | --- | --- |
| Standard | PDF | Cover · KPIs · Building rankings · Net zero · Alert summary · AI insights |
| ESG Snapshot | PDF + DOCX | Cover · Scope 1+2 totals · YoY · Regulatory context · Certifications |
| Investor | PDF + PPTX | Executive summary · Portfolio carbon · Investment opportunities · ROI projections |
| Custom | PDF + XLSX | Pick any section you want — checkbox list |

### Step 4 — Generate

Click "Generate" → the drawer shows an SSE (Server-Sent Events) progress stream:

- "Aggregating portfolio data..."

- "Calculating Scope 1+2 emissions..."

- "Writing executive summary (AI)..."

- "Rendering charts..."

- "Generating PDF via Puppeteer..."

- "Uploading to S3..."

- "Ready ✓"

Total generation time: 30-90 seconds depending on portfolio size and template complexity. The page is safe to navigate away from — the report continues server-side and the row in the table updates to "Complete" when done.

## 8.3 Share links

Click "Share" on any complete report → modal opens.

- Generate share token — creates a one-time UUID, valid for 30 days by default

- Copy link — "/reports/shared/[token]"

- Expires — date picker (1 day / 7 days / 30 days / 90 days / never)

- Revoke link — sets share_expires_at to NOW(); existing copies of the link stop working

Shared links bypass authentication — anyone with the link can view + download the PDF. Use carefully for sensitive data.

## 8.4 Report preview

Click any report row → /reports/:id/preview opens a full-page preview with download button. The preview is rendered from the S3-stored HTML.

## 8.5 Tier 1 alert reports

When a Tier 1 alert is acknowledged, a "Generate incident report" button appears in the audit timeline. This produces a 1-page PDF specific to that incident:

- Cover with incident timestamp + building

- Sensor snapshot at trigger

- Audit timeline (every step taken with timestamp and user)

- Resolution notes

Suitable for insurance carrier FNOL submission.

# 9. Analytics (Premium tier)

The Analytics page at /analytics is the cross-portfolio analysis surface. Requires Premium tier. Includes the Carbon sub-tab (where the old standalone Carbon page was folded).

## 9.1 Six chart panels

| Panel | Chart type | Use case |
| --- | --- | --- |
| Cross-portfolio EUI | Horizontal BarChart, colour-coded vs benchmark | Identify which buildings are above benchmark at a glance |
| Emissions trend | LineChart actual + glide-path target | Track portfolio decarbonisation pace |
| Energy mix | Stacked BarChart per asset (electricity / gas / solar) | See which buildings still rely on gas |
| Water consumption | BarChart per month + portfolio average line | Spot water-intensive buildings |
| Carbon intensity | ScatterChart — x = floor area, y = tCO₂e/m², z = energy cost (bubble size) | Identify high-intensity outliers |
| Multi-asset comparison | LineChart per asset (up to 6), colour-coded | Side-by-side comparison of any 6 buildings |

## 9.2 Carbon sub-tab

Contains the portfolio-level Scope 1+2 view that used to live at /carbon. Stacked monthly BarChart, Scope donut, regulatory alerts widget, benchmark panel, offsets marketplace teaser (with link to per-building Carbon Intelligence for purchase).

## 9.3 Date range

- Top of page — global date range (3m / 6m / 12m / custom)

- Applies to every panel simultaneously

## 9.4 Export

Each panel has a cosmetic "Export PDF" button — uses html-to-image client-side to capture the chart, then downloads as PDF.

# 10. Maps (Premium tier)

The Maps page at /maps shows every building in the workspace on an interactive Leaflet map.

## 10.1 Marker layout

- CircleMarker per asset, positioned by latitude / longitude

- Marker fill colour = EUI status (teal = good, amber = warning, red = poor)

- Red ring around marker = active alerts on this building

- Markers cluster at low zoom levels (react-leaflet-cluster) — cluster shows count

## 10.2 Popup

Click any marker → popup appears with:

- Building name + type

- Address

- EUI + benchmark deviation

- Active alert count

- Certification chips

- "View building" link (opens building Overview tab)

## 10.3 Filters

- "Alerts only" toggle — hides buildings with zero active alerts

- "Above benchmark only" toggle — hides buildings at or below benchmark

## 10.4 Legend

Bottom-left absolute overlay — colour-coded EUI ranges:

- Teal — at or below benchmark

- Amber — within 20% above benchmark

- Red — > 20% above benchmark

- Grey — insufficient data

## 10.5 Unmapped buildings notice

If any buildings lack latitude/longitude, a notice bar at the top says "X buildings not shown on map — add coordinates via Building Settings". Click to jump to the offending buildings.

# 11. Solar Monitor (Premium tier — legacy sidebar)

The Solar Monitor at /solar is the original lighter-weight solar tracking view. For deep solar feasibility analysis, use the per-building Solar & Energy tab (§4.9).

## 11.1 Asset selector

Top of page — dropdown listing every asset with solar data (either `solar_kwh` metrics or `solar_capacity_kw` metadata).

## 11.2 Date range

- 7 days · 30 days · 90 days

## 11.3 KPI strip

| Card | Metric | Unit |
| --- | --- | --- |
| Generation | Total solar produced in period | kWh |
| Cost saved | Generation × regional tariff | Currency |
| CO₂ avoided | Generation × regional emission factor | tCO₂e |
| Grid export | Solar generated beyond demand | kWh |

## 11.4 Performance ratio

SVG ring gauge — actual generation as % of nameplate capacity. Green > 80%, amber 60-80%, red < 60%.

## 11.5 Daily generation chart

AreaChart — solid line = actual daily generation, dashed line = forecast for upcoming days.

## 11.6 Monthly chart with self-sufficiency

BarChart — solar generation by month, with a dual Y-axis line overlay showing self-sufficiency % (solar consumed / total consumption).

## 11.7 7-day forecast grid

Grid of 7 cards (one per day). Each card: day name, weather emoji (☀️ ⛅ ☁️ 🌧️), expected kWh.

Forecast = capacityKw × peak sun hours × cloud factor (from Open-Meteo via `OPEN_METEO_BASE_URL`).

# 12. Investment Planner (legacy opt-in module)

Two views of the same engine: portfolio-level (/investment) and per-building (§4.10).

## 12.1 Portfolio view (/investment)

### Asset selector

Dropdown listing all assets in the workspace.

### Intervention type cards

Five large cards with icons:

| Intervention | Saving model | Typical payback |
| --- | --- | --- |
| LED retrofit | 12% reduction in electricity | 2-4 years |
| HVAC upgrade | 20% of HVAC portion (estimated 40% of total energy) | 5-9 years |
| Solar PV | Floor area × 65 W/m² × regional capacity factor | 7-12 years |
| Insulation | 8% reduction in gas | 8-15 years |
| BMS optimisation | 15% reduction in total energy | 1-3 years |

### CapEx input

Number field with regional currency symbol (£, €, $, A$, HK$). Default values seeded based on building floor area.

### Calculate ROI button

Clicking triggers an animated reveal:

- SVG payback ring — animates from 0 to the calculated score (10 / payback years × 100)

- StatCards animate in: Annual saving · 25-year NPV · CO₂ avoided

- LineChart shows 10-year cumulative cashflow with a ReferenceLine at the CapEx crossover point

- "Download ROI Report" button → generates a 2-page PDF

## 12.2 Per-building view

Covered in §4.10. Adds AI-ranked priority ordering and multi-intervention scenarios.

## 12.3 Calculations

- NPV at 7% discount rate

- IRR via binary search

- Annual saving uses regional tariff from regionAdapter

- CO₂ avoided uses regional emission factor

# 13. Ask Your Building (AI Chat — legacy opt-in)

The Ask Your Building page at /ask is a chat interface to a GPT-4o RAG (Retrieval-Augmented Generation) assistant. Context is built dynamically from the workspace's real data — no hallucination on numbers.

## 13.1 Context selector

Top of the page — switch between Portfolio scope and any individual building. Changing scope re-builds the RAG context.

## 13.2 Quick prompts

6 starter prompts appear as clickable chips:

- "Where can we cut emissions fastest?"

- "Which building is underperforming and why?"

- "What would a 50 kWp solar PV system save us?"

- "Summarise our last 12 months of alerts."

- "Is our portfolio on track for net zero?"

- "Which interventions have the best payback?"

## 13.3 Chat input

- Enter to send, Shift+Enter for newline

- Streaming response (SSE) — words appear one at a time with a blinking cursor

- Auto-scroll to bottom as the response streams

- History window — 8 turns retained; older turns trimmed when context fills

## 13.4 Anti-hallucination rules

The system prompt enforces 6 STRICT RULES:

- Never invent specific numbers — only cite values present in the provided context

- If asked about a building not in scope, decline and ask the user to switch scope

- Cite the source for every claim (e.g. "Per the last 30 days of metrics...")

- Flag uncertainty plainly ("I don't have enough data to answer this")

- Use the workspace's region-specific benchmark (CIBSE / NABERS / etc.)

- Suggest opportunities only when supported by data

## 13.5 Clear chat

"Clear chat" button resets the history window. Useful before switching to a different building (avoids cross-contaminating context).

# 14. Settings

Settings live at /settings/* with five tabs accessible to Owners and Admins.

## 14.1 Workspace tab

### Profile fields

- Workspace name

- Logo upload (S3-backed, displayed in sidebar)

- Timezone (default Europe/London)

- Reporting period start / end (defaults to financial year)

### Whitelabel

Premium tier only — override colours, add a custom domain. Stored in `workspace.whitelabel_config` JSONB.

## 14.2 Team tab

Invite team members, change roles, remove users.

### Invite flow

- Enter email + role

- Send invite — generates JWT invite token (48h validity), sends email via Resend

- Invitee clicks email link → /accept-invite/:token → sets password → lands on dashboard

### Role management

Owners can promote any user to Admin, or demote any Admin to Contributor / Viewer. The Owner role cannot be removed — to transfer ownership, the current Owner must promote the target user to Admin, then a Super Admin (VZC staff) performs the ownership transfer via the admin portal.

## 14.3 Region & Units tab

Change region (UK / AU / US / HK / JM / EU) and override individual unit preferences:

- Energy unit (kWh / MWh / GJ / therm / kBtu)

- Area unit (m² / ft²)

- Water unit (m³ / litres / gallons)

- Display language (10+ via i18next)

Warning: Changing region recalculates every historical metric to the new region's defaults. This is reversible but disruptive to in-flight reports. Plan a quiet window.

## 14.4 Notifications tab

Per-user email + push preferences. Tier 1 alerts cannot be unsubscribed (locked toggle).

| Notification type | Email | Push (PWA) | Frequency |
| --- | --- | --- | --- |
| Tier 1 alerts | 🔒 Always on | Always on | Real-time |
| Tier 2 alerts | ✓ Default on | Optional | Real-time |
| Weekly digest | ✓ Default on | Optional | Monday 09:00 |
| Regulatory updates | ✓ Default on (if ai_regulatory active) | Optional | When detected |
| Report generation complete | ✓ Default on | Optional | Per report |
| New user invited (admins only) | ✓ Default on | Optional | Per invite |

## 14.5 Integrations tab

Same partner cards as Data Collection → Integration Hub. Settings tab is where day-to-day management happens (rotate credentials, view last sync log, disconnect).

# 15. Admin Portal (Internal Ops)

The Admin Portal at /admin is for VZC staff only. It has its own login, its own JWT (ADMIN_JWT_SECRET), and its own purple-themed UI. There is no overlap between the admin portal and the customer-facing app.

## 15.1 Admin login

Admins live in the `super_admins` table (not `users`). The login page is at /admin. After successful authentication, the admin lands on /admin/dashboard.

## 15.2 Admin Dashboard

- 4 StatCards: Total organisations · Total assets · Active alerts (portfolio-wide) · Total reports generated

- 12-month LineChart in purple — new organisation signups per month

## 15.3 Organisations

A paginated DataTable at /admin/organisations.

### Filters

- Search by name

- Licence status — All / None / Pending / Active / Expired / Cancelled

### Row actions

- View detail → /admin/organisations/:orgId

## 15.4 Organisation detail

Four sections per organisation:

### Profile

- Org name (editable)

- Contact email (billing)

- Notes (internal billing notes — not visible to customer)

- Max buildings (cap)

### Licence

- Current status badge

- "Activate licence" modal — Workspace selector + date picker + notes → POST /admin/api/organisations/:id/activate → activates CORE_MODULES + sends activation email

- "Suspend" button → sets licence_status to "cancelled" → triggers ORG_SUSPENDED in customer app

### Modules

16-module toggle grid:

- Each module shown as a card with toggle switch

- Toggle on → POST /admin/api/modules/activate (writes is_active=true to workspace_modules)

- Toggle off → POST /admin/api/modules/deactivate + ConfirmDialog

- "Apply bundle" dropdown above the grid — see §6 for bundle definitions

### Workspaces

List of workspaces under this organisation. Each row shows:

- Workspace name · Region · Tier (basic/premium) · Asset count · Active modules count · Last activity

- "Change tier" button → updates workspaces.tier

## 15.5 Team management

/admin/team — list of all super admins.

### Invite new super admin

- Email + full name + role (Standard / Senior)

- Sends JWT invite token via Resend, 48h validity

- Invitee → /admin/accept-invite/:token → sets password → can login

## 15.6 Admin audit logging

Every admin action — module activation, tier change, licence activation, team invite — writes a row to `audit_log` with the admin's user_id, the action, and the previous + new values. Used for compliance review.

# 16. Operational Conventions & Troubleshooting (Internal Ops)

This chapter is for VZC ops staff onboarding to support the platform. End users can skip this chapter.

## 16.1 Tier 1 alert SLA

< 60 seconds from sensor trigger to outbound email. This is achieved by:

- Alert ingest endpoint inserts to alerts table → Resend email fires synchronously

- WebSocket broadcast to all subscribed clients (Status Manager fires red toast)

- Push notification to PWA-installed devices

Note: There is NO manual "Send Alert" button anywhere in the platform — every alert email is automatic. If a customer asks why they did not receive an email, check `alerts.email_sent_at` + Resend dashboard.

## 16.2 Resend email logs

Every transactional email (password reset, licence activation, Tier 1 alerts, weekly digest) goes through Resend. To check delivery:

- Resend dashboard → Logs → filter by recipient email

- Look for "Delivered" status — if "Bounced" or "Complained", the customer's mailbox rejected

- Resend.com supports message resending and bounce notifications via webhook

## 16.3 WebSocket diagnostics

If a customer reports "BMS live data not updating":

- 1. Check the workspace has an integration partner connected with `is_active = true` (Data Collection → Integration Hub)

- 2. Check Railway logs for `[WSS]` entries — confirmation of `WebSocket server attached`, ping/pong heartbeat

- 3. Check the sync scheduler is running — should log every 30 minutes

- 4. Check `data_partner_connections.last_sync_status` for the workspace

- 5. Customer-side — hard-refresh the browser, the WS reconnects with exponential backoff (1s → 30s cap)

## 16.4 Sync scheduler

Lives in `services/syncScheduler.js`. Runs every 30 minutes:

- Loads all active `data_partner_connections`

- For each: calls adapter `fetchLatestReadings`, bulk-inserts to `metrics`

- Updates `last_sync_at` + `last_sync_status` on the connection row

- Runs `runAlertCheck` per asset for threshold-based alert auto-firing

- Weekly (every 7 days): runs `runWeeklyRegulatoryScans` for `ai_regulatory`-active workspaces

## 16.5 Ashburner Francis demo stream

A special service for one specific workspace + asset combo (Patrick's account). Toggled by `DEMO_ASHBURNER_STREAM=true` on Railway:

- Refills demo BMS + utility data every 5 minutes if forward buffer < 12 hours

- Refills target = 24 hours forward

- Only writes to workspace `8b255f4d-...` + asset `74acca91-...` — no other workspace/asset is touched

- Disabled by default — only enabled when Patrick needs to demo and Novant isn't producing real telemetry

- To disable: remove env var from Railway → service emits `[ashburnerDemo] disabled (DEMO_ASHBURNER_STREAM != true)` on next boot

## 16.6 Production deployment

### Backend deploy

- Push to `main` → Railway auto-redeploys

- On start: `runMigrations()` runs safely (idempotent — skips existing tables)

- Then starts WebSocket server, BMS simulation, sync scheduler, Ashburner stream (if toggled)

- Logs: "Portfolio One API — port [PORT]"

### Frontend deploy

- Push to `main` → Vercel auto-redeploys

- CRITICAL: never use `Co-Authored-By: Claude` in commits — Vercel Hobby blocks non-owner authors

- vercel.json rewrites all routes to /index.html for SPA fallback

### Database migrations

- Migrations are append-only — never edit an existing migration, never delete

- To reverse an effect, write a NEW corrective migration

- `runMigrations()` runs on every deploy — safe to re-run, skips existing tables

## 16.7 Common customer support scenarios

### "Data is missing in the dashboard"

- 1. Confirm workspace_id from user's account

- 2. Query `metrics` for that workspace — does data exist?

- 3. If data exists in DB but not UI → cache issue → customer hard-refresh

- 4. If data is missing → check `audit_log` for any deletes

- 5. If data is in the wrong workspace → migrate (see Portfolio_One_IP.md §29.1)

### "Tier 1 alert email did not arrive"

- 1. Check `alerts.email_sent_at` — non-null means we sent it

- 2. Check Resend dashboard for the timestamp + recipient — "Delivered" / "Bounced" / "Complained"

- 3. If "Delivered" — customer's spam filter likely. Ask them to whitelist info@visionzeroconnect.com

- 4. If "Bounced" — recipient email invalid, ask for correction

### "Bill parser extracted wrong values"

- 1. Check the bill type and region — is it a country we cover?

- 2. Look at the confidence score on the parse_log

- 3. If < 50, the AI flagged uncertainty — customer should review carefully

- 4. Customer can manually correct via the editable result card before clicking "Confirm & save"

- 5. Persistent failures on a specific supplier → check `services/ai/prompts/billParsingPrompt.js` for region-specific hints

### "Sync error on Synapsis / Novant / Softhard"

- 1. Check `data_partner_connections.last_error` for the partner code

- 2. Common causes: expired API key, partner API rate limit, network issue

- 3. Customer should re-test the connection in Data Collection → Integration Hub → Configure → Test

- 4. If credentials genuinely changed → customer enters new credentials (encrypts AES-256-GCM, overwrites old)

- 5. If AES_KEY env var was rotated → all connections need re-entry (see Portfolio_One_IP.md §29.10)

### "Vercel deploy failed"

- 99% of the time: `Co-Authored-By: Claude` in a commit. Vercel Hobby tier blocks non-owner authors

- Fix: amend the commit with a clean author trailer (or push a fresh commit without it)

- Never force-push to main

## 16.8 Where to look for more detail

This manual covers end-user and ops-level workflows. For deep technical detail — schema, route signatures, AI prompt internals, security architecture, etc. — consult Portfolio_One_IP.md (the single source of truth) in the root of this repo.

Specifically:

- Portfolio_One_IP.md §0 — Working protocol (how to take a task in this codebase)

- §24 — Full database schema

- §25 — Non-negotiable rules

- §29 — Production operations runbook

- §30 — Roadmap to industry standard

— End of manual —